| WI No. /  Working Group | Standard No.  EN | Title | Status | Mandate | Short explanation | Date for publishing | Beginning of application as harmonized standard | Deadline for withdrawing national standards: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1443 | Chimneys – General requirements | Standard published | no | Basic standard  Fundamental revision | April 2019 |  |  |
|  | 13216-1 | Chimneys– Test methods for system chimneys –  Part 1: General test methods | Standard published | no | General test standard  Fundamental revision | April 2019 |  |  |
|  | 14297 | Chimneys – Freeze-thaw resistance test method for chimney products | Standard published | no |  | August 2004 |  |  |
| 00166118 / WG 1 | 15287-1 +A1  rev. | Chimneys – Design, installation and commissioning of chimneys – Part 1: Chimneys for non-roomsealed heating appliances | Standard published  Rev. in processing | no | European  Execution standard  Adaptation to EN 1443rev. | August 2010 |  |  |
| 00166xxx / WG 1 | 15287-2  Rev. | Chimneys – Design, installation and commissioning of chimneys –Part 2: Chimneys systems for roomsealed appliances | Standard published  Rev. in processing | no | European  Execution standard  Adaptation to EN 1443rev. | March 2008 |  |  |
|  | CEN/TS 16134 | Chimney terminals – General requirements and material independent test methods | TS published | no | Technical Specification | Sept. 2011 |  |  |
| 00166076 / WG 1 | 16475-1 | Chimneys – Accessories – Part 1: Chimney Silencers – Requirements and test methods | FV finished | planned |  |  |  |  |
|  | 16475-2  rev. | Chimneys – Accessories – Part 2: Exhaust fans – Requirements and test methods | Standard published  Rev. in processing | planned | Adaptation to CPR | March 2017 |  | 2018-12-31 |
|  | 16475-3 +A1 | Chimneys – Accessories – Part 3: Draught regulators, standstill opening devices and combined secondary air devices – Requirements and test methods | Standard published | planned |  | Dec. 2018 |  | 2018-01-31 |
| 00166115 / WG 1 | 16475-4 | Chimneys – Accessories – Part 4: Flue dampers – Requirements and test methods | PE finished | planned |  |  |  |  |
|  | ~~16475-5~~ | ~~Chimneys – Accessories – Part 5: Explosion/implosion relief devices~~ | Plan deleted |  | According to inquiry  no need |  |  |  |
| 00166081 / WG 1 | 16475-6 | Chimneys – Accessories – Part 6: Access components –Silencers – Requirements and test methods | 2nd FV finished | planned | Perhaps still adaptation to CPR necessary |  |  |  |
| 00166116 / WG 1 | 16475-7  A1 | Chimneys – Accessories – Part 7: Rain caps – Requirements and test methods | Standard published  PE finished | planned | Error correction | January 2016 |  | 2017-10-31 |
|  | ~~16475-8~~ | ~~Chimneys – Accessories – Part 8: Particle filters~~ | Plan deleted |  | Missing experience |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  | 13384-1 +A1 | Chimneys – Thermal and fluid dynamic calculation methods – Part 1: Chimneys serving one heating appliance | Standard published | no |  | June 2019 |  |  |
|  | 13384-2  +A1 | Chimneys – Thermal and fluid dynamic calculation methods – Part 2: Chimneys serving more than one heating appliance | Standard published | no |  | June 2019 |  |  |
|  | 13384-3 | Chimneys – Thermal and fluid dynamic calculation methods – Part 3: Methods for the development of diagrams and tables for chimneys serving one heating appliance | Standard published | no |  | October 2005 |  |  |
|  |  |  |  |  |  |  |  |  |
|  | ~~1457~~ | ~~Chimneys – Clay/ceramic flue liners – Requirements and test methods + A1 + AC~~ | Standard withdrawn | yes | Replaced by  EN 1457-1 and -2 | August 2007 | 2008-01-01 | 2008-01-01 |
| 00166109/ WG 3 | 1457-1 | Chimneys – Clay/ceramic flue liners – Part 1: Flue liners operating under dry conditions – Requirements and test methods | Standard published  FV finished | yes | Adaptation to CPR | Febr. 2012 | 2012-11-01 | 2013-11-01 |
| 00166110 / WG 3 | 1457-2 | Chimneys – Clay/ceramic flue liners –Part 2: Flue liners operating under wet conditions – Requirements and test methods | Standard published  FV finished | yes | Adaptation to CPR | Febr. 2012 | 2012-11-01 | 2013-11-01 |
|  | 1806 | Chimneys – Clay/ceramic flue blocks for single wall chimneys – Requirements and test methods | Standard published | yes |  | July 2006 | 2007-05-01 | 2008-10-01 |
| 0166xxx / WG 3 | 13063-1 +A1  rev. | Chimneys –System chimneys with clay/ceramic flue liners – Part 1: Requirements and test methods for sootfire resistance | Standard published  Rev. in processing | yes |  | October 2007 | 2008-05-01 | 2009-04-30 |
| 0166xxx / WG 3 | 13063-2 +A1  rev. | Chimneys – System chimneys with clay/ceramic flue liners – Part 2: Requirements and test methods under wet conditions | Standard published  Rev. in processing | yes |  | October 2007 | 2008-05-01 | 2009-05-01 |
| 00166xxx / WG 3 | 13063-3  rev. | Chimneys – System chimneys with clay/ceramic flue liners – Part 3: Requirements and test methods for air flue system chimneys | Standard published  Rev. planed | yes |  | July 2007 | 2008-05-01 | 2007-05-01 |
|  | 13063-4 | Chimneys – System chimneys with clay/ceramic flue liners – Part 4: Requirements and test methods for combinations | Deferred | ? |  |  |  |  |
| 001661xx / WG 3 | 13069  rev. | Chimneys – Clay/ceramic outer walls – Requirements and test methods | Standard published  Rev. in processing | yes | Adaptation to CPR | July 2005 | 2006-05-01 | 2007-05-01 |
|  | 13502 | Chimneys – Requirements and test methods for clay/ ceramic flue terminals | Standard published | yes |  | October 2002 | 2003-08-01 | 2004-08-01 |
|  |  |  |  |  |  |  |  |  |
|  | 14241-1 | Chimneys – Elastomeric seals and elastomeric sealants – Material requirements and test methods –  Part 1: Seals in flue liners | Standard published | Support standard |  | August 2013 |  | 2014-02-28 |
|  | 14471 +A1 | Chimneys – System chimneys with plastic flue liners – Requirements and test methods | Standard published | yes |  | January 2015 | 2015-07-10 | 2016-07-10 |
|  |  |  |  |  |  |  |  |  |
|  | 1857 | Chimneys – Components – concrete flue liners | Standard published | yes |  | April 2010 | 2011-01-01 | 2012-01-01 |
| 00166104 / WG 5 | 1858 +A1  rev. | Chimneys – Components – concrete flue blocks | Standard published  Rev. interrupted | yes | Adaptation to CPR | June 2011 | 2012-04-01 | 2013-04-01 |
|  | 12446 rev. | Chimneys – Components – Concrete outer wall elements | Standard published | yes |  | June 2011 | 2012-04-01 | 2013-04-01 |
|  | 16497-1 | Chimneys – Concrete System Chimneys  – Part 1: Non-balanced flue applications | Standard published | yes |  | Febr. 2015 |  | 2016-11-30 |
| 00166099/ WG 5 | 16497-2 | Chimneys – Concrete System Chimneys  – Part 2: Balanced flue applications | Standard published | yes |  | March 2017 |  | 2018-12-31 |
|  |  |  |  |  |  |  |  |  |
| 00166107 / SC 2 | 1856-1  rev. | Chimneys – Requirements for metal chimneys –  Part 1 System chimney products | Standard published  Rev. in processing | yes |  | June 2009 | 2010-03-01 | 2011-03-01 |
| 00166111 / SC 2 | 1856-2  rev. | Chimneys – Requirements for metal chimneys –  Part 2: Metal liners and connecting flue pipes | Standard published  Rev. in processing | yes |  | June 2009 | 2010-03-01 | 2011-03-01 |
|  | 1859 +A1 | Chimneys – Metal chimneys – Test methods | Standard published | no |  | April 2013 |  |  |
|  | ~~12391-1~~ | ~~Chimneys – Execution standard for metal chimneys –  Part 1: Chimneys for non-roomsealed heating appliances~~ | Standard withdrawn | no | Replaced by  EN 15287-1 | Dec. 2003 |  | March 2005 |
|  | 14989-1 | Chimneys – Requirements and test methods for metal chimneys and material independent air supply ducts for roomsealed heating applications – Part 1: Vertical air/flue terminals for C6-type appliances | Standard published | yes |  | Febr. 2007 | 2008-01-01 | 2009-01-01 |
|  | 14989-2 | Chimneys – Requirements and test methods for metal chimneys and material independent air supply ducts for roomsealed heating applications – Part 2: Flue and air supply ducts for room sealed appliances | Standard published | yes |  | Dec. 2007 | 2009-01-01 | 2010-01-01 |
|  |  |  |  |  |  |  |  |  |